## Sheet1
Eng. Record | Description | Eng. Record Type | Type Description | Eng. Record Status | Status Description | Created By | Changed By | Created On | Changed On | Change Coordinator | Release Coordinator | Context | Reason for Change | Reason Description | Target Run-In Date | Change Number | Customer | Priority | Priority Description
1032649 | Use expired Bulk TDE3 as positive for 20 | DEVN | Deviations | 40 | Release & Extend | FLEE | MHERNANDE1 | 2019-04-15 | 2019-04-18 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1032637 | EG1v1.2 BP8 FBP controls omission | DEVN | Deviations | 40 | Release & Extend | JBIRCH | MCHAIB | 2019-04-12 | 2019-04-16 | MCHAIB |  |  |  |  | 2958465 |  |  | 2 | High
1032605 | Use of SuperSave4 Recipe for iSeq FIT | DEVN | Deviations | 40 | Release & Extend | KYWONG1 | WF-BATCH | 2019-04-11 | 2019-04-17 | PLEE |  |  |  |  | 2958465 |  |  | 2 | High
1032595 | SiRF Setup Deviation Pt.2 | DEVN | Deviations | 40 | Release & Extend | MCHOUDHURI | WF-BATCH | 2019-04-10 | 2019-04-18 | VANDERSON |  |  |  |  | 2958465
1032535 | FBP Control Pools | DEVN | Deviations | 40 | Release & Extend | JGABUNILAS | WF-BATCH | 2019-04-09 | 2019-04-16 | VANDERSON |  |  |  |  | 2958465
1032544 | Use expired Bulk TDE3 as positive contro | DEVN | Deviations | 40 | Release & Extend | FLEE | WF-BATCH | 2019-04-09 | 2019-04-17 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1032510 | ELM3 Probe Qualification DEVN | DEVN | Deviations | 40 | Release & Extend | KBUCHHOLZ | WF-BATCH | 2019-04-08 | 2019-04-09 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1032485 | NovaSeq; Receive DAD w/ new Encoder | DEVN | Deviations | 40 | Release & Extend | DGATES | WF-BATCH | 2019-04-05 | 2019-04-17 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1032472 | MiSeqDX Gasket Assembly | DEVN | Deviations | 40 | Release & Extend | JLI5 | WF-BATCH | 2019-04-05 | 2019-04-08 | MCHAIB |  |  |  |  | 2958465
1032494 | Cleaver Jacket Temperature Setpoint | DEVN | Deviations | 40 | Release & Extend | CWILKINSON | WF-BATCH | 2019-04-05 | 2019-04-08 | VANDERSON |  |  |  |  | 2958465
1032460 | Rec233v1.5 Plate Reader Software DVN | DEVN | Deviations | 40 | Release & Extend | KPOPP | MHERNANDE1 | 2019-04-04 | 2019-04-12 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 1 | Very High
1032463 | EG1v1-2 AQP Dilution | DEVN | Deviations | 40 | Release & Extend | JBIRCH | WF-BATCH | 2019-04-04 | 2019-04-11 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1032398 | NFL Capping Deviation | DEVN | Deviations | 40 | Release & Extend | MCHOUDHURI | MCHAIB | 2019-04-02 | 2019-04-11 | MCHAIB |  |  |  |  | 2958465
1032355 | Deprotection Pressure | DEVN | Deviations | 40 | Release & Extend | CWILKINSON | WF-BATCH | 2019-04-01 | 2019-04-03 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1032370 | Venus 3 Activated Bead QC | DEVN | Deviations | 40 | Release & Extend | JGABUNILAS | WF-BATCH | 2019-04-01 | 2019-04-05 | FCAMU |  |  |  |  | 2958465
1032373 | Kinex Capper Settings DEVN | DEVN | Deviations | 40 | Release & Extend | ABOUSSINA | WF-BATCH | 2019-04-01 | 2019-04-02 | FCAMU |  |  |  |  | 2958465 |  |  | 1 | Very High
1032360 | Mylar Bagging of FFY Inventory | DEVN | Deviations | 40 | Release & Extend | ABOUSSINA | VANDERSON | 2019-04-01 | 2019-04-04 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1032361 | 23andMe_V5-2_BP8 SBP1 spike-in | DEVN | Deviations | 40 | Release & Extend | TJOBE | WF-BATCH | 2019-04-01 | 2019-04-03 | VANDERSON |  |  |  |  | 2958465
1032366 | Equipment Onboarding for RGT MFG | DEVN | Deviations | 40 | Release & Extend | KPOJUNIS | WF-BATCH | 2019-04-01 | 2019-04-12 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1032333 | Split B2, B6 Coat and Polish MFG | DEVN | Deviations | 40 | Release & Extend | TKENT | WF-BATCH | 2019-03-29 | 2019-04-04 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1032323 | iScan - LOD Chip Dev Data Collection(V2) | DEVN | Deviations | 40 | Release & Extend | ZMAO | WF-BATCH | 2019-03-29 | 2019-04-08 | PLEE |  |  |  |  | 2958465
1032314 | Handfill Dev for BOM and Fill Volumes | DEVN | Deviations | 40 | Release & Extend | BEREREN | WF-BATCH | 2019-03-28 | 2019-04-10 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1032306 | Glass Shard Mitigations CAPA 01126 | DEVN | Deviations | 40 | Release & Extend | ASHABILLA | WF-BATCH | 2019-03-28 | 2019-04-10 | FCAMU |  |  |  |  | 2958465 |  |  | 1 | Very High
1032293 | Miseq RUO Chiller-TEC-Sipper cable test | DEVN | Deviations | 40 | Release & Extend | MNAGESWARA | WF-BATCH | 2019-03-27 | 2019-04-18 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1032286 | iDepot HiSeq, Convert HiSeq3K-to-HiSeq4 | DEVN | Deviations | 40 | Release & Extend | CLE | WF-BATCH | 2019-03-27 | 2019-04-04 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1032276 | Inspect MN 20000496 without Datasheet | DEVN | Deviations | 40 | Release & Extend | JYACOUB | WF-BATCH | 2019-03-27 | 2019-03-29 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1032257 | NovaSeq; Front Door Alignment Shims | DEVN | Deviations | 40 | Release & Extend | DGATES | WF-BATCH | 2019-03-26 | 2019-03-28 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1032206 | SIRF MiniSeq Leak Test | DEVN | Deviations | 40 | Release & Extend | MCHOUDHURI | WF-BATCH | 2019-03-25 | 2019-04-05 | VANDERSON |  |  |  |  | 2958465
1032179 | MiSeq: Use Unreleased IQC Pump SW WIs | DEVN | Deviations | 40 | Release & Extend | JYACOUB | WF-BATCH | 2019-03-22 | 2019-03-28 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1032187 | Array DEVN - pGrayLow | DEVN | Deviations | 40 | Release & Extend | SSHARMA2 | WF-BATCH | 2019-03-22 | 2019-03-27 | FCAMU |  |  |  |  | 2958465 |  |  | 2 | High
1032137 | Ellipsometry Sampling | DEVN | Deviations | 40 | Release & Extend | ASANDS | WF-BATCH | 2019-03-21 | 2019-03-25 | FCAMU |  |  |  |  | 2958465
1032136 | TSCA Duplicate data during Analysis | DEVN | Deviations | 40 | Release & Extend | SMALEPATI | WF-BATCH | 2019-03-21 | 2019-04-03 | FCAMU |  |  |  |  | 2958465
1032121 | Support shipping the MiSeq Loaner to cus | DEVN | Deviations | 40 | Release & Extend | CLE | WF-BATCH | 2019-03-20 | 2019-03-21 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1032069 | MiSeqRUO/FGx/Dx: M3 Motor (MN 20032622) | DEVN | Deviations | 40 | Release & Extend | FSEVOR | PKELLER | 2019-03-18 | 2019-04-16 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1032021 | NovaSeq; Qualify Plexus for BIM/RCA | DEVN | Deviations | 40 | Release & Extend | DGATES | PKELLER | 2019-03-15 | 2019-03-22 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1032007 | Novaseq :Test/Update MIBs w/FCH beta FW | DEVN | Deviations | 40 | Release & Extend | MNAGESWARA | WF-BATCH | 2019-03-14 | 2019-03-21 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1031988 | Rework in RGT PKG Kits 2019 | DEVN | Deviations | 40 | Release & Extend | ASANTOMAUR | VANDERSON | 2019-03-13 | 2019-04-11 | VANDERSON |  |  |  |  | 2958465 |  |  | 4 | Low
1031925 | HiSeq: VACUUM CHUCK , 25X75 FC HOLDER, R | DEVN | Deviations | 40 | Release & Extend | FSEVOR | WF-BATCH | 2019-03-12 | 2019-04-03 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1031960 | Mylar Bagging for FFY Workflow | DEVN | Deviations | 40 | Release & Extend | ABOUSSINA | WF-BATCH | 2019-03-12 | 2019-03-18 | VANDERSON |  |  |  |  | 2958465
1031952 | NH Pools FBP Controls Omission | DEVN | Deviations | 40 | Release & Extend | AMUNOZ | WF-BATCH | 2019-03-12 | 2019-03-25 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1031915 | SWIR Inspection Station | DEVN | Deviations | 40 | Release & Extend | MCHOUDHURI | WF-BATCH | 2019-03-11 | 2019-03-21 | VANDERSON |  |  |  |  | 2958465
1031879 | Modify Func. Test Requirements DRAGEN | DEVN | Deviations | 40 | Release & Extend | PBOYER | WF-BATCH | 2019-03-08 | 2019-03-11 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1031864 | PhiX Filling WI Deviation | DEVN | Deviations | 40 | Release & Extend | BEREREN | BEREREN | 2019-03-07 | 2019-04-08 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1031744 | MGAM Activity Assay | DEVN | Deviations | 40 | Release & Extend | MRASMUSSEN | MHERNANDE1 | 2019-03-04 | 2019-04-18 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 1 | Very High
1031757 | NovaSeq 1.6 Firmware installation | DEVN | Deviations | 40 | Release & Extend | PMEEHAN | WF-BATCH | 2019-03-04 | 2019-03-09 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1031741 | ACP2 DEVN | DEVN | Deviations | 40 | Release & Extend | WTHORNBURY | WF-BATCH | 2019-03-04 | 2019-03-04 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1031758 | Deviation 1031758 GMP IE USO dNTP Mix | DEVN | Deviations | 40 | Release & Extend | ESURMA | MHERNANDE1 | 2019-03-04 | 2019-04-18 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1031700 | NovaSeq, EOM ZSLO Unlocking | DEVN | Deviations | 40 | Release & Extend | MHO1 | WF-BATCH | 2019-03-01 | 2019-03-06 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1031702 | Fuji CCL1 fill volume change | DEVN | Deviations | 40 | Release & Extend | SAHN | WF-BATCH | 2019-03-01 | 2019-03-05 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1031694 | iDepot MiSeqRUO; for 5 DOA instruments r | DEVN | Deviations | 40 | Release & Extend | CLE | PKELLER | 2019-02-28 | 2019-03-01 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1031651 | NovaSeq; XYA Motor Cable re-positioning | DEVN | Deviations | 40 | Release & Extend | DGATES | WF-BATCH | 2019-02-27 | 2019-03-05 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1031668 | Mixmaster HMI Discrepancy | DEVN | Deviations | 40 | Release & Extend | KSZYMANSKI | WF-BATCH | 2019-02-27 | 2019-03-13 | FCAMU |  |  |  |  | 2958465
1031665 | Hayward HVAC Maintenance | DEVN | Deviations | 40 | Release & Extend | RSORDELLO | WF-BATCH | 2019-02-27 | 2019-03-01 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1031604 | 50% IPA Container | DEVN | Deviations | 40 | Release & Extend | JLI5 | WF-BATCH | 2019-02-25 | 2019-02-27 | VANDERSON |  |  |  |  | 2958465
1031545 | Use Disposable Centrifuge Tubes, 175mL M | DEVN | Deviations | 40 | Release & Extend | KLAKSHMANA | WF-BATCH | 2019-02-21 | 2019-02-27 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1031520 | NovaSeq; CTA Current Draw ENG Test | DEVN | Deviations | 40 | Release & Extend | DGATES | WF-BATCH | 2019-02-21 | 2019-02-22 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1031521 | NovaSeq; CA BIM Mounting Screw change | DEVN | Deviations | 40 | Release & Extend | DGATES | WF-BATCH | 2019-02-21 | 2019-03-22 | PKELLER |  |  |  |  | 2958465 |  |  | 3 | Medium
1031515 | TruSeq Methyl Capture Analysis | DEVN | Deviations | 40 | Release & Extend | KBUCHHOLZ | VANDERSON | 2019-02-20 | 2019-02-27 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1031414 | Acadia 20L SMB bulk split | DEVN | Deviations | 40 | Release & Extend | APURANIK | MCHAIB | 2019-02-15 | 2019-02-20 | MCHAIB |  |  |  |  | 2958465 |  |  | 1 | Very High
1031425 | E0006NI, Ampliscribe T7 RNA Polymerase | DEVN | Deviations | 40 | Release & Extend | EFERGUSON | WF-BATCH | 2019-02-15 | 2019-03-26 | MHERNANDE1 |  |  |  |  | 2958465
1031396 | MiSeq RUO, Semrock Filter Qualification | DEVN | Deviations | 40 | Release & Extend | MHO1 | WF-BATCH | 2019-02-14 | 2019-03-05 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1031360 | Amidite Release | DEVN | Deviations | 40 | Release & Extend | GHUENING | WF-BATCH | 2019-02-13 | 2019-02-14 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1031353 | MAP Physical Tube Verification | DEVN | Deviations | 40 | Release & Extend | KSZYMANSKI | VANDERSON | 2019-02-13 | 2019-04-02 | VANDERSON |  |  |  |  | 2958465
1031349 | Wafer ID Reading Data Collection | DEVN | Deviations | 40 | Release & Extend | MNORTH | WF-BATCH | 2019-02-13 | 2019-03-11 | FCAMU |  |  |  |  | 2958465
1031310 | iSeq Post-ATC-C Visual Inspection | DEVN | Deviations | 40 | Release & Extend | EHARTNETT | WF-BATCH | 2019-02-12 | 2019-04-18 | MCHAIB |  |  |  |  | 2958465 |  |  | 2 | High
1031272 | TDE1 - Removal of small scale process | DEVN | Deviations | 40 | Release & Extend | CWORDEN | WF-BATCH | 2019-02-11 | 2019-02-20 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1031284 | AgVic_50K_Bovine partial merge | DEVN | Deviations | 40 | Release & Extend | SZHANG5 | WF-BATCH | 2019-02-11 | 2019-02-12 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1031257 | NovaSeq; use variable conc PhiX Template | DEVN | Deviations | 40 | Release & Extend | DGATES | PKELLER | 2019-02-08 | 2019-02-14 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1031225 | MEG_AllofUs partial merge #4 | DEVN | Deviations | 40 | Release & Extend | KCHIA | WF-BATCH | 2019-02-08 | 2019-02-11 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1031245 | Supplier Tube Size DEVN | DEVN | Deviations | 40 | Release & Extend | WTHORNBURY | MCHAIB | 2019-02-08 | 2019-02-19 | MCHAIB |  |  |  |  | 2958465
1031221 | NIL4.0 HPLC QC Refstd Exp Date Change | DEVN | Deviations | 40 | Release & Extend | JBACH | WF-BATCH | 2019-02-07 | 2019-02-11 | VANDERSON |  |  |  |  | 2958465
1031093 | NovaSeq Silanization - Pump Down Recipe | DEVN | Deviations | 40 | Release & Extend | AAGUIAR | WF-BATCH | 2019-02-01 | 2019-02-01 | VANDERSON |  |  |  |  | 2958465
1031089 | NovaSeq FIT Doc Redline for MES RunSniff | DEVN | Deviations | 40 | Release & Extend | MSONES | PKELLER | 2019-01-31 | 2019-04-03 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1031033 | Qual of iSeq PCA, PDB 1, SBS, ISEQ Rev C | DEVN | Deviations | 40 | Release & Extend | PLONG | PLEE | 2019-01-30 | 2019-03-01 | PLEE |  |  |  |  | 2958465
1030998 | IQC Expiration Dating | DEVN | Deviations | 40 | Release & Extend | KPOJUNIS | WF-BATCH | 2019-01-29 | 2019-02-04 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1030955 | Lightbox Chip Visual Inspect Impvmt | DEVN | Deviations | 40 | Release & Extend | ASHABILLA | WF-BATCH | 2019-01-26 | 2019-02-19 | FCAMU |  |  |  |  | 2958465 |  |  | 2 | High
1030937 | Human 18S dsDNA new Premix&Purification | DEVN | Deviations | 40 | Release & Extend | GWELLNER1 | MHERNANDE1 | 2019-01-25 | 2019-02-07 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 1 | Very High
1030940 | EPM dNTP Quant Method | DEVN | Deviations | 40 | Release & Extend | SCHAGAR | WF-BATCH | 2019-01-25 | 2019-01-28 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1030942 | MiSeq RUO; Alt comp for 20012905 | DEVN | Deviations | 40 | Release & Extend | AVANKIPURA | PKELLER | 2019-01-25 | 2019-03-19 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1030909 | NovaSeq:Address VES LGM Shutter Error | DEVN | Deviations | 40 | Release & Extend | PMEEHAN | PKELLER | 2019-01-24 | 2019-01-28 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1030910 | NovaSeq; SW 1.6 Pre-Release to iMFG | DEVN | Deviations | 40 | Release & Extend | DGATES | WF-BATCH | 2019-01-24 | 2019-02-01 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1030889 | Deviation from NextSeq Reg Cover Spec | DEVN | Deviations | 40 | Release & Extend | CSLIM2 | JYCHO | 2019-01-23 | 2019-03-22 | JYCHO |  |  |  |  | 2958465 |  |  | 2 | High
1030905 | HiSeq; Install Flow Cell MFG change | DEVN | Deviations | 40 | Release & Extend | DGATES | PKELLER | 2019-01-23 | 2019-01-29 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1030881 | MiSeq RUO: 100% motor drive current impl | DEVN | Deviations | 40 | Release & Extend | SYANG | PKELLER | 2019-01-22 | 2019-03-06 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1030850 | NovaSeq; DAD 2.0 pre-release implementat | DEVN | Deviations | 40 | Release & Extend | DGATES | WF-BATCH | 2019-01-21 | 2019-01-25 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1030782 | NFL Revalidation DEVN | DEVN | Deviations | 40 | Release & Extend | VLIANG | MYOO | 2019-01-17 | 2019-04-17 | FCAMU |  |  |  |  | 2958465 |  |  | 1 | Very High
1030769 | Application of New Shipping Att. Label | DEVN | Deviations | 40 | Release & Extend | KSHAPTON | VANDERSON | 2019-01-17 | 2019-03-20 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1030728 | NovaSeq FC Char Monitoring for I/O Q30 | DEVN | Deviations | 40 | Release & Extend | JIUELE | WF-BATCH | 2019-01-15 | 2019-02-04 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1030694 | 384 Tip Robot QC Failure Review | DEVN | Deviations | 40 | Release & Extend | CWILKINSON | JORTEGA | 2019-01-14 | 2019-01-31 | FCAMU |  |  |  |  | 2958465 |  |  | 2 | High
1030622 | HiSeq & NovaSeq: UPS & Spare Batteries | DEVN | Deviations | 40 | Release & Extend | FSEVOR | WF-BATCH | 2019-01-10 | 2019-03-18 | PKELLER |  |  |  |  | 2958465 |  |  | 3 | Medium
1030593 | Genomic Dr Fermentation Decontamination | DEVN | Deviations | 40 | Release & Extend | SWAYLAND | MHERNANDE1 | 2019-01-09 | 2019-04-05 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1030603 | iDepot HW, HiSeq3K-to-4K Conversion | DEVN | Deviations | 40 | Release & Extend | CLE | WF-BATCH | 2019-01-09 | 2019-01-22 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1030539 | NovaSeq; RCA-BIM new supplier Validation | DEVN | Deviations | 40 | Release & Extend | DGATES | PKELLER | 2019-01-07 | 2019-02-05 | PKELLER |  |  |  |  | 2958465 |  |  | 3 | Medium
1030408 | EBLTL First-test WI DEVN | DEVN | Deviations | 40 | Release & Extend | THARRINGTO | WF-BATCH | 2018-12-21 | 2019-03-28 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1030392 | QC Reagent Traceability | DEVN | Deviations | 40 | Release & Extend | DHUNTER1 | MHERNANDE1 | 2018-12-21 | 2019-04-16 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 1 | Very High
1030393 | 200L Formulation of Pol 812 & 963 | DEVN | Deviations | 40 | Release & Extend | DHUNTER1 | MHERNANDE1 | 2018-12-21 | 2019-04-18 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1030264 | NovaSeq FC UV Cut Order Update | DEVN | Deviations | 40 | Release & Extend | PMAINS | VANDERSON | 2018-12-17 | 2019-03-15 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1030165 | Use previous version of Pack Layout | DEVN | Deviations | 40 | Release & Extend | MRENUART | VANDERSON | 2018-12-12 | 2019-03-15 | VANDERSON |  |  |  |  | 2958465
1030128 | Material Stored in Unreleased Warehouse | DEVN | Deviations | 40 | Release & Extend | JBOLLMAN | VANDERSON | 2018-12-11 | 2019-03-28 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1030056 | Hamilton Robot QC WI/Template Deviation | DEVN | Deviations | 40 | Release & Extend | CWILKINSON | VANDERSON | 2018-12-07 | 2019-03-04 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1030031 | Decoder pool tube material handling | DEVN | Deviations | 40 | Release & Extend | YLIN1 | JYCHO | 2018-12-06 | 2019-03-01 | MCHAIB |  |  |  |  | 2958465 |  |  | 2 | High
1029885 | MiSeq all: Relax Lens SI spec from 0.25 | DEVN | Deviations | 40 | Release & Extend | SYANG | PKELLER | 2018-11-29 | 2019-03-07 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1029764 | Deviation for OOS Greiner 96 Well Plate | DEVN | Deviations | 40 | Release & Extend | CATEO | JYCHO | 2018-11-23 | 2019-03-11 | JYCHO |  |  |  |  | 2958465 |  |  | 2 | High
1029752 | NovaSeq ICA Hardware Change | DEVN | Deviations | 40 | Release & Extend | CSIMMONS | PKELLER | 2018-11-21 | 2019-02-25 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1029545 | VER1 Inspection | DEVN | Deviations | 40 | Release & Extend | WTHORNBURY | VANDERSON | 2018-11-09 | 2019-03-07 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1029498 | To add China Disclaimer Label, PN: 2003 | DEVN | Deviations | 40 | Release & Extend | PCLIM | OCINDY | 2018-11-07 | 2019-02-14 | OCINDY |  |  |  |  | 2958465
1029431 | ILMN-Madison Camstar MES Go-Live | DEVN | Deviations | 40 | Release & Extend | SKEENAN | MHERNANDE1 | 2018-11-05 | 2019-02-01 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1029301 | Check Grades prior to Hybseal | DEVN | Deviations | 40 | Release & Extend | NJUAN | VANDERSON | 2018-10-30 | 2019-03-08 | VANDERSON |  |  |  |  | 2958465
1029164 | MiSeq Dx - Using Tecan Pump | DEVN | Deviations | 40 | Release & Extend | RMACH | PKELLER | 2018-10-23 | 2019-01-30 | PKELLER |  |  |  |  | 2958465 |  |  | 3 | Medium
1029042 | Add shock logger on LGM in NovaSeq @ FII | DEVN | Deviations | 40 | Release & Extend | SYANG | PKELLER | 2018-10-17 | 2019-04-18 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1028934 | NovaSeq: Use Mfg Test Reporter SW | DEVN | Deviations | 40 | Release & Extend | PBOYER | PKELLER | 2018-10-11 | 2019-01-24 | PKELLER |  |  |  |  | 2958465 |  |  | 3 | Medium
1028909 | MiSeq RUO- CARE Instrument Status ID | DEVN | Deviations | 40 | Release & Extend | PKELLER | PKELLER | 2018-10-10 | 2019-01-18 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1028764 | MiSeq : FAI for M3 mirror 20022298 and 2 | DEVN | Deviations | 40 | Release & Extend | SYANG | PKELLER | 2018-10-03 | 2019-02-13 | PKELLER |  |  |  |  | 2958465 |  |  | 1 | Very High
1028618 | FC Manufacturing Maintenance Procedure | DEVN | Deviations | 40 | Release & Extend | ACOPP | VANDERSON | 2018-09-26 | 2019-04-11 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1028518 | FFN analytical RP-HPLC Buffers | DEVN | Deviations | 40 | Release & Extend | KRODRIGUE1 | MCHAIB | 2018-09-21 | 2019-03-19 | MCHAIB |  |  |  |  | 2958465
1028513 | eDHR Report Exceptions | DEVN | Deviations | 40 | Release & Extend | CDAY | DNIX | 2018-09-20 | 2019-04-18 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1028486 | YMC and YMC-RS Column Test in FFN Mfg | DEVN | Deviations | 40 | Release & Extend | KRODRIGUE1 | VANDERSON | 2018-09-19 | 2019-03-15 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1028244 | ALDH Modifier Concentration Change | DEVN | Deviations | 40 | Release & Extend | IADAMS | VANDERSON | 2018-09-07 | 2019-02-27 | VANDERSON |  |  |  |  | 2958465 |  |  | 3 | Medium
1028171 | Deviation to 1000000050505 | DEVN | Deviations | 40 | Release & Extend | FMONTOYA | VANDERSON | 2018-09-05 | 2019-03-12 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1028066 | Genomic Drive Equipment Transfer | DEVN | Deviations | 40 | Release & Extend | SWAYLAND | MHERNANDE1 | 2018-08-29 | 2019-02-28 | MHERNANDE1 |  |  |  |  | 2958465 |  |  | 2 | High
1027973 | NovaSeq_Disregard XY-drift & Encoder Err | DEVN | Deviations | 40 | Release & Extend | JANDREOLI | PKELLER | 2018-08-25 | 2019-04-18 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1027823 | QC Test Deviation Index Plate 20025019 | DEVN | Deviations | 40 | Release & Extend | BFREEDMAN | VANDERSON | 2018-08-17 | 2019-02-04 | VANDERSON |  |  |  |  | 2958465
1027545 | SN Naming for Mat Returned from Supplier | DEVN | Deviations | 40 | Release & Extend | KBURKE | PKELLER | 2018-08-07 | 2019-03-11 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1027474 | Physical Inventory Exception Process | DEVN | Deviations | 40 | Release & Extend | JBOLLMAN | VANDERSON | 2018-08-03 | 2019-01-29 | VANDERSON |  |  |  |  | 2958465
1027404 | MiSeq PhiX Storage and Process Change | DEVN | Deviations | 40 | Release & Extend | JLIU | PKELLER | 2018-08-01 | 2019-02-07 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1027256 | Master Usage Extension | DEVN | Deviations | 40 | Release & Extend | MNORTH | VANDERSON | 2018-07-25 | 2019-04-16 | VANDERSON |  |  |  |  | 2958465 |  |  | 2 | High
1027084 | MiSeq RUO and FGx: Using PTFE syringe | DEVN | Deviations | 40 | Release & Extend | RMACH | PKELLER | 2018-07-17 | 2019-02-06 | PKELLER |  |  |  |  | 2958465 |  |  | 2 | High
1026837 | Allow to use Rev A of 15013658 | DEVN | Deviations | 40 | Release & Extend | MUEBELHOR | VANDERSON | 2018-06-27 | 2019-02-18 | VANDERSON |  |  |  |  | 2958465 |  |  | 1 | Very High
1026745 | Array DEVN- pGrayTotal | DEVN | Deviations | 40 | Release & Extend | DGEORGE1 | MCHAIB | 2018-06-22 | 2019-03-21 | MCHAIB |  |  |  |  | 2958465 |  |  | 2 | High
1026057 | NovaSeq; XYA X-drive Scan Go, No-Go test | DEVN | Deviations | 40 | Release & Extend | DGATES | PKELLER | 2018-05-21 | 2019-03-05 | PKELLER |  |  |  |  | 2958465 |  |  | 3 | Medium
1023398 | Firefly: use out of spec 60pin connector | DEVN | Deviations | 40 | Release & Extend | KSUN | VANDERSON | 2018-01-16 | 2019-04-10 | VANDERSON |  | COMMON |  |  | 2958465 |  |  | 1 | Very High